[image: image16.png]



Driver+ Dimmer 2 in 1 Constant Voltage SDD-DIM series  60W  PWM output 
[image: image17.png]



Driver+ Dimmer 2 in 1 Constant Voltage SDD-DIM series  60W  PWM output  

SDD-DIM series

Whole Family: SDD-xx060-DIM    DC- (xx=12V 24V 48V) [ 60W 96W 100W 120W 160W ] 
[image: image1.png](UL )us

LISTED
E495946



 [image: image2.png]


 [image: image3.png]


 [image: image4.png]


 [image: image5.png]


 [image: image6.png]


 [image: image7.png]



         [image: image8.png]The driver is inside





Features
	Output: 
	Constant Voltage

	Input Range:
	120VAC

	PFC design:
	Built-in active PFC function

	Protections:
	Short circuit/ Over load/ Over temperature

	Heat dissipation:
	Cooling by free air convection

	Waterproof performance:
	For dry and damp locations (US)

	Design features:


	Fine-tune output voltage can be adjusted slightly
Preset dimmer with on/off switch
3-Way switches

Eliminated compatibility issues between drivers and switches

	Dimming range:
	0.3%-100%

	Application:
	Suitable for the application of LED lighting

	Warranty:
	5 years warranty 

	Others:
	16KHZ PWM output with dimming curve is a gamma 2.2 curve     Flicker-free


Specification  
	Model
	SDD-12060-DIM
	SDD-24060-DIM
	SDD-48060-DIM

	Certificate
	UL / cUL / FCC / Class P / SELV / RoHS / Reach

	Output


	DC Rate Voltage
	12V

(12V-13.5V adjust by knob)
	24V

(24V-26V adjust by knob)
	48V

(48V-50V adjust by knob)

	
	Voltage Tolerance
	±0.5V

	
	Load Regulation
	≤2%
	≤1%
	≤1%

	
	Line Regulation
	≤0.5%

	
	Rated current
	5A
	2.5A
	1.25A

	
	Rated power
	60W
	60W
	60W

	Input


	Voltage Range
	120VAC

	
	Frequency Range
	60Hz

	
	Power Factor @ full load
	0.99

	
	THD(Typ.) @ full load
	≤10%

	
	Efficiency @ full load
	90.0%
	91.0%
	92.0%

	
	AC Current (Max.)
	0.6A
	0.6A
	0.6A

	
	Inrush Current (Typ.)
	50A, 150us@50% Ipeak

	
	Leakage current
	<0.5mA

	Protection


	Short Circuit
	Hiccup mode, recovers automatically after fault condition is removed

	
	Over Load
	≥110% Constant current mode, recovers automatically after fault condition is removed

	
	Over temperature
	Shell surface temperature 100℃±10℃ shut down o/p voltage, automatically recover after cooling

	Environment


	Working TEMP.
	-40~+60℃ (see below derating curve)

	
	Working Humidity
	20 - 95%RH  non-condensing   

	
	Storage TEM.,Humidity
	-40 - +80℃,10 - 95% RH non-condensing  

	
	TEMP.coefficient
	±0.03%/℃(0 - 50℃)

	
	Vibration
	10~500Hz, 2G 12min./1 cycle, period for 72 min. each along X,Y,Z axes

	Safety & EMC


	Safety standards
	UL8750  CAN/CSA-C22.2 No.250.13 (US)

	
	Withstand voltage
	I/P-O/P:1.8KVAC  I/P-F/G:1.8KVAC  O/P-F/G:0.5KVAC (US)

	
	Isolation resistance
	I/P-O/P:100MΩ / 500VDC / 25℃ / 70% RH

	
	EMC Immunity
	FCC/ICES do not request this test (US)

	
	EMC Emission
	FCC Part15 Subpart B  ANSI C63.4:2014 (US)

	Others


	Net Weight
	0.25KG

	
	Dimension
	105*54*51mm /  4.134"x2.126"x1.996" (Inch)

	
	Packing
	   

	Notes
	All parameters NOT specially mentioned are measured at 120VAC input, rated load and 25℃of ambient temperature.
Tolerance: includes set up tolerance and load regulation .


Efficiency Curve (efficiency vs output load)

[image: image9.png]Efficiency Curve

93.00

92.00 e 4

91.00

n(%)

90.00

89.00

88.00
50% 0% 70% 80% 9% 100%

Load

5 SDD-12060-DIM —— SDD-24060-DIM  —&— SDD-48060-DIM




   
Power factor curve
[image: image10.png]Power factor curve

1.000
L3

3 + # # A

0.990

0.%80

& 0.970

0.960

0.950

0% 70% 80% 9% 100%

Load

—k— SDD-12060-DIM —— SDD-24060-DIM —>— SDD-48060-DIM





Derating Curve (Output power VS Ambient TEMP)

[image: image11.png]Load (%)

100

80

20

-40

10 20 30 40 50

Ambient Temperature (°C)

70





To extend their life, please refer to the Derating Curve and derate according to the temperature.
The output current of the LED driver should be selected according to the rated current of the lamp and the ambient temperature.
Normally, we recommend the power supply to reserve a certain amount of load to extend LED driver’s life .
Mechanical Specification
[image: image12.png]— 1l
Bue
o
o Red
pa
B
=
0
E E 1 ]
3 = 3 A T
0
= ] e 174
- Black.
36 [1.417) - ?
.—‘40 s (1504 _lI 1.5 [0.059] wie /| ]
N Red Blck
52 [2.047] 44 [1.737]
54 [2.126]
s | oigEc 55 ] a
= whne | 02005 | [ e
i :
: w | [ [we





	American Wire Gauge  SD01

	Input wires
	Black cable (L), Red black cable (L1) , White cable (N) and Green cable (FG)   (4*18AWG)

	Output wires
	 Red cable (V+), Blue cable (V-)  (2*18AWG)


Warm tips: 

Any other requests, we can customize.
Please ensure that the connection is correct.
Connecting Diagram  

① SDD-DIM model for standard dimming system

[image: image13.png]V+ RED

V- BLUE
Dimming

120V~
50/60Hz N




 

② SDD-DIM model for 3-way dimming system
[image: image14.png]120V~
50/60Hz

No

L

L1

L2

[‘ v+ RED
V- BLUE

Dimming





Note: Dimmer’s panel is not replaceable.
Knob to adjust the voltage

Clockwise rotation of the high voltage

[image: image15.png]A=
)

Output Volt. Adjustment

12V output volt. : 12-13. 5V
24V output volt. : 24-26V
48V output volt. : 48-50V




Instructions

This driver+dimmer 2 in 1 should be installed by qualified and professional person.
Please make sure the driver+dimmer 2 in 1 is installed with adequate ventilation around it to allow for heat dissipation.

Ensure that connection is correct to avoid LED light or driver+dimmer 2 in 1 be damaged.
If the driver+dimmer 2 in 1 cannot work normally, don’t maintain privately.
Have any questions, please contact with SCPOWER/SURETRON.
Please visit our website or contact us for more information! www.scpower.net.cn/en
[image: image18.jpg]SURETRON B

Professional manufacturer of dimmable driver in China




[image: image17.png]
  www.scpower.net.cn/en               info@scpower.net.cn                                                                               A/0

[image: image18.jpg]
     www.scpower.net.cn/en               info@scpower.net.cn                                                                               A/0 

