[image: image14.jpg]SURETRON B

Professional manufacturer of dimmable driver in China





TRIAC ELV MLV Transformer - Constant Voltage Output - ETF Series 150W

ETF Series 150W

Whole Family: ETF24150TDJ  [ 60W 96W 120W 150W 180W 192W 200W 288W 300W ]
[image: image1.png](UL )us

LISTED
E495946



 [image: image2.png]


 [image: image3.png]ICES-005



 [image: image4.png]Class P



 [image: image5.png]TYPE HL



 [image: image6.png]SELV



 [image: image7.png]RoHS



 [image: image8.png]Reach





[image: image9.png]




	Features
	

	Dimming function: 
	Electronic Transformer Triac/ ELV/ MLV dimming

	Dimming range:
	0-100%

	Waterproof performance:
	For dry, damp and Wet locations

	Input:
	120VAC

	THD:
	THD<20%@120V Max. load

	Output type:
	Constant voltage

	Small size:
	166.4x103.5x40.4 mm / 6.55x4.07x1.59 inch (L*W*H)

	Loading:
	Ultra-low load requirements: Operates flawlessly at 10%-100% load.

	Protections:
	Short circuit / over load  

	Compatibility:
	Compatible with popular dimmers in the market, Lutron-CL, Diva series and so on.

	Application:
	• LED strip/ LED tape/ LED module

• Residential Lighting

• Commercial Lighting

	Warranty:
	5 years warranty


Specification

	Model
	ETF24150TDJ

	Certificate
	UL / FCC / ICES-005 / Class P / TYPE HL / SELV / ROHS / REACH

	Output
	DC Voltage
	24V

	
	Voltage Tolerance
	±1.5V

	
	Rated current
	6.25A

	
	Rated power
	150W

	Input
	Voltage Range
	120V

	
	Frequency Range
	47-63Hz

	
	Power Factor(typ.)
	0.94@120VAC   

	
	Total Harmonic Distortion 
	THD< 20%(@100% load)

	
	Efficiency(Typ.)
	90%@120VAC  

	
	AC Current(Typ.)
	1.31A

	
	Leakage Current
	<0.5mA/ 120VAC

	Protection
	Short Circuit
	Hiccup mode, recovers automatically after fault condition is removed.

	
	Over Load
	Hiccup mode, recovers automatically after fault condition is removed.

	Environment
	Working Temp.
	Tc =-40 ~ +60 (see below derating curve)

	
	Working humidity
	20 ~ 95% RH non-condensing

	
	Storage temp., Humidity
	-40 ~ +90, 10 ~ 95% RH

	
	Temp .coefficient
	±0.03%/℃（0～50℃）

	
	Vibration
	10～500Hz, 5G 10min./1 cycle,period for 60min. each along X,Y,Z axes

	Safety & EMC
	Safety standards
	UL8750;   CAN/CSA-C22.2 No.250.13

	
	Withstand voltage
	I/P-O/P:1.88KVAC

	
	EMC Immunity
	FCC/ICES do not request this test (US)

	
	EMC Emission
	FCC Part15 Subpart B;   ANSI C63.4a-2017;   ICES-005 Issue 5 (US)

	Others
	Weight
	0.826kg

	
	Dimension
	See Mechanical Specification 

	
	Packing
	45*25.5*24 cm (20PCS/CTN )


Mechanical Specification
[image: image10.png]0. 1738]
4. 4

0. 1654]
4.2

6.5512]
- 166. 4 B
6. 0802]
- 154. 4 B
| I
|E EI-E
| |
! n
6. 1378]
- 155. 9 B
1. 5906 6. 0787]
P‘E‘@_o‘ ‘ _
1 ¢2
i g 3989
= S & o NE o
= =, o3,
O ‘
_ ® ® |

UK i s |
A 5 - LA
RAWNG No|  ATU3T6 scale |
ik — HLA .
PRO 6% ] UNIT mm/in







Connecting Diagram
[image: image11.png]ELV Dimmer

Black
White

Electronic Transformer





[image: image12.png]Triac / MLV Dimmer

Triac / MLV

Black
White

Electronic Transformer

Red
Black

V+
V-

LED

N
N





Derating Curve (Load vs Ambient Temperature)

[image: image13.png]LOAD(3)

Load derating curve

a0c

20C 0C_10C 20T

30C_40C S0C 60°C 70C
Ambient Temperature (°C)




To extend their life, please refer to the Derating Curve and derate according to the temperature.
Warm tip :

All Electronic Transformer meet the harmonic emissions requirements of ANSI C82.77-10.

Instruction
This driver should be installed by qualified and professional person.
Please make sure the driver is installed with adequate ventilation around it to allow for heat dissipation.
Ensure that wiring is correct before test in order to avoid light and power supply damage.
If driver Cannot work normally, don’t maintain privately.
Have any questions, please contact Zhuhai Shengchang.

Please visit our website or contact us for more information! www.scpower.net.cn/en
 SHAPE  \* MERGEFORMAT 


[image: image16.png]


     www.scpower.net.cn/en               info@scpower.net.cn                                                                               A/0 

[image: image14.jpg][image: image15][image: image16.png]